## Slide 1
OVERCOMING OPTICAL SCATTERING IN PHOTOACOUSTIC IMAGING
WITH INTENSITY-RECOVERING
DEEP LEARNING MODEL
Department of Electrical and Computer Engineering
Christine Wu
Advisor: Chen Yun-Sheng
Spring 2021

## Slide 2
OUTLINE
Problem Formulation
  Where does optical scattering occur?
  How do we plan to overcome it?
Model Scheme and Architecture
  Convolutional Neural Network, NetP
  Conditional Generative Adversarial Network, PowerNet
Trainings on Three Datasets
  Simulation Dataset (Lab Generated Controlled Data)
  Array Phantom (Real, but Structurally Controlled Data)
  Hand Blood Vessel (Real Complex Data)
ECE / CHRISTINE WU
GRAINGER ENGINEERING

## Slide 3
DEPARTMENT OF ELECTRICAL AND COMPUTER ENGINEERING
GRAINGER ENGINEERING
INTRODUCTION
Ultrasound (UL)
Contrast from impedance mismatch of reflected sound pulse waves off target surface / tissue
Photoacoustic (PA)
Pressure-sound waves generated by thermal expansion from optical laser energy absorption
Area with optical scattering
Ultrasound and Photoacoustic Imaging
UL has better imaging depth

## Slide 4
Model Scheme
  Convolutional Neural Network, NetP
  Conditional Generative Adversarial Network, PowerNet
DEPARTMENT / UNIT NAME
GRAINGER ENGINEERING

## Slide 5
DEPARTMENT OF ELECTRICAL AND COMPUTER ENGINEERING
GRAINGER ENGINEERING
DEEP LEARNING MODEL DESCRIPTION
NetP
Purpose
Predict the laser intensity of the input photoacoustic image.
Convolutional Neural Network (cNN)
Retains spatial features, the arrangement of pixel in image
Retains the relation between pixels, features extracted over an area, not just local pixel information
MSE Loss Function

## Slide 6
DEPARTMENT OF ELECTRICAL AND COMPUTER ENGINEERING
GRAINGER ENGINEERING
DEEP LEARNING MODEL DESCRIPTION
PowerNet – conditional Generative Adversarial Network (cGAN)
U
Generator
0 = FAKE
1 = REAL
D
Discriminator
IG
UL
Labels
Real Image
PAR
Random
Noise
PAP
Fake Image
The Generator extract features from labels and synthesize an imitation of real image to trick the Discriminator
The Discriminator tries to identify real data from fakes created by the Generator
cGAN Loss Function
Pixel-Based Loss Function L1 & SSIM
Intensity Loss Function

## Slide 7
Datasets & Results
DEPARTMENT / UNIT NAME
GRAINGER ENGINEERING
  Simulation Dataset (Lab Generated Controlled Data)
  Array Phantom (Real, but Structurally Controlled Data)
  Hand Blood Vessel (Real Complex Data)

## Slide 8
Simulation Dataset
DEPARTMENT OF ELECTRICAL AND COMPUTER ENGINEERING
GRAINGER ENGINEERING
DATASET TRAINING & EVALUATION
Dataset with control over
Shape of structures
Location of structures
Number of structures
No background noise/artifacts
Trainings Purpose
Evaluate PowerNet’s ability to resynthesize attenuated PA in terms of shape, location, number of structures and corresponding laser intensity
Ultrasound BM
Attenuated PA
PowerNet PA
10 mJ
5 mJ
2 mJ

## Slide 9
Array Phantom Dataset
DEPARTMENT OF ELECTRICAL AND COMPUTER ENGINEERING
GRAINGER ENGINEERING
DATASET TRAINING & EVALUATION
Trainings Purpose
Dataset has good point structures to demonstrate overcoming laser attenuation
Segmented each image into 9 patches
Trained with only patch 5 (greatest intensity)
Attenuation direction is radially outwards from center
Ultrasound BM
Attenuated PA
PowerNet PA
1
2
3
4
5
6
7
8
9
Gaussian Beam
Patch Segmentation

## Slide 10
Line Evaluation of Array Phantom
DEPARTMENT OF ELECTRICAL AND COMPUTER ENGINEERING
GRAINGER ENGINEERING
DATASET TRAINING & EVALUATION
Uniform Intensity
(No attenuation)
Attenuated Intensity
Ultrasound BM
Attenuated PA
PowerNet PA
PowerNet PA
Attenuated PA

## Slide 11
Line Evaluation of Array Phantom
DEPARTMENT OF ELECTRICAL AND COMPUTER ENGINEERING
GRAINGER ENGINEERING
DATASET TRAINING & EVALUATION
Uniform Intensity
(No attenuation)
Attenuated Intensity
Ultrasound BM
Attenuated PA
PowerNet PA
PowerNet PA
Attenuated PA
Reference Peak: similar in shape and magnitude

## Slide 12
Line Evaluation of Array Phantom
DEPARTMENT OF ELECTRICAL AND COMPUTER ENGINEERING
GRAINGER ENGINEERING
DATASET TRAINING & EVALUATION
Uniform Intensity
(No attenuation)
Attenuated Intensity
Ultrasound BM
Attenuated PA
PowerNet PA
PowerNet PA
Attenuated PA
No Structure Peak: no structure to detect, no noticeable intensity peak

## Slide 13
Line Evaluation of Array Phantom
DEPARTMENT OF ELECTRICAL AND COMPUTER ENGINEERING
GRAINGER ENGINEERING
DATASET TRAINING & EVALUATION
Uniform Intensity
(No attenuation)
Attenuated Intensity
Ultrasound BM
Attenuated PA
PowerNet PA
PowerNet PA
Attenuated PA
Attenuated Peak 1: PowerNet adjusted intensity magnitude to have uniform intensity

## Slide 14
Line Evaluation of Array Phantom
DEPARTMENT OF ELECTRICAL AND COMPUTER ENGINEERING
GRAINGER ENGINEERING
DATASET TRAINING & EVALUATION
Uniform Intensity
(No attenuation)
Attenuated Intensity
Ultrasound BM
Attenuated PA
PowerNet PA
PowerNet PA
Attenuated PA
Attenuated Peak 2: Structure more attenuated, intensity magnitude still adjusted to achieve uniform intensity

## Slide 15
Hand Blood Vessel Dataset
DEPARTMENT OF ELECTRICAL AND COMPUTER ENGINEERING
GRAINGER ENGINEERING
DATASET TRAINING & EVALUATION
Dataset with control over
Complex structures with varying information to extract
A lot of background noise/artifacts
Trainings Purpose
Evaluate PowerNet’s ability to learn and synthesize complex structures in real medical data
Ultrasound BM
Attenuated PA
PowerNet PA
Original
Skin Segmented

## Slide 16
Hand Blood Vessel Dataset
DEPARTMENT OF ELECTRICAL AND COMPUTER ENGINEERING
GRAINGER ENGINEERING
DATASET TRAINING & EVALUATION
To see how incorporating intensity value can change PowerNet’s results.
Real PA
cGAN
CWSSIM: 0.8569
CWSSIM: 0.7748
CWSSIM: 0.8981
CWSSIM: 0.6533
powernet(=5)
powernet(=5), 2 times
powernet(=5), 10 times
CWSSIM: 0.6273
CWSSIM: 0.7361
CWSSIM: 0.5736
CWSSIM: 0.7900
powernet(=5), 0.5 times
CWSSIM: 0.5096
CWSSIM: 0.5204

## Slide 17
Hand Blood Vessel Dataset
DEPARTMENT OF ELECTRICAL AND COMPUTER ENGINEERING
GRAINGER ENGINEERING
DATASET TRAINING & EVALUATION
Layer training, technique similar to Array Phantom Patch training, can successfully recover the intensity of structures deeper in tissues
150~0
100~250
200~350
300~450
Ultrasound BM
Attenuated PA
PowerNet PA

## Slide 18
DEPARTMENT OF ELECTRICAL AND COMPUTER ENGINEERING
GRAINGER ENGINEERING
CONCLUSION
Resolved
Simulation dataset : synthesize correct structure shape, location, and number of structures
Array Phantom dataset : synthesize non-attenuated PA with uniform intensity
Hand Blood Vessel dataset :
  capture complex structures in real medical data
  synthesize non-attenuated PA with uniform intensity
Limitations and Future Improvements
Working on methods to evaluate and confirm that the PowerNet PA results are clinically correct
Continue searching for image similarity evaluation method
Special thanks to Kevin Huang, Professor Chen Yun-Sheng, Professor Zhao Yang, and the Y2Lab.